[image: image1.png]



  Douglas County Development Control Division                                                       (770) 920-7242

     8700 Hospital Drive                                                                                         FAX (678) 715-5366

                              Douglasville, Georgia  30134

FINAL PLAT CHECKLIST

Project Name:



Reviewed By:
________________________________________
Date:
_______________________

Department of Engineering

ALL SUBMITTALS:
Please address all items below that are marked with an X, as well as any additional comments on Page 2, prior to resubmittal.  Return all redlines (including checklist) with resubmittals.

_____  1. The final plat shall be clearly and legibly drawn on permanent reproducible material.  The scale of the final plat shall be one hundred (100) feet to one (1) inch ( 1” = 100’ ).   Sheet size shall not exceed twenty (20) inches by seventeen (17) inches.  If complete plat can not be shown on one sheet of this size, said plat shall be shown on several sheet with an index map indicated on each sheet.  In no case shall the sheet size be lees than eight and one half (8 ½) inches by eleven (11) inches.

_____  2. The final plat shall conform to the preliminary plat and may constitute only that portion of the approved plat which the subdivider proposes to record and develop at any one time, provided that such portion conforms to the staging established in the preliminary plat procedure and to the requirements of these rules and regulations.

_____  3. Name of the subdivision and street names.

_____  4. Name and street address of the owner of record.

_____  5. Name and street address of the subdivider.

_____  6. Date of plat drawing, graphic scale, and north arrow.

_____  7. Acreage of the property and location of tract including land lot, district and section.
_____  8. Name of former subdivision of any or all of the final plat has been previously subdivided.

_____  9. Location sketch.

_____  10. Index map when more than one sheet is required to present plat.

_____  11. Courses and distances to the nearest existing street intersections.

_____  12. Exact boundary lines of the tract to be indicated by a heavy line, giving distances to the nearest one-tenth foot and angles to the nearest minute, which shall be balanced and closed with an error of closure not to exceed one foot in ten thousand feet.  The error of closure shall be stated.  Tract boundaries shall be determined by an accurate survey in the field.

_____  13. Exact location, width, and names of all street and alleys within and immediately adjoining the plat, and the exact location and widths of all sidewalks.

_____  14. Street centerlines and horizontal curve radii.

_____  15. Lot lines with dimensions to the nearest one-tenth foot, with necessary internal angles, arcs, chords, tangents, and radii.

_____  16. Building setback lines with dimensions.

_____  17. Lots should be numbered in order and blocks lettered alphabetically.

_____  18. Locations, dimensions and purpose of all drainage structures and of any easements including slope easements, if required, and of public service utility right-of-way lines and areas to be preserved, donated, or dedicated to public use or sites for other than residential use with notes stating their purpose and limitations; and of any areas to be reserved by deed covenant for common use of all property owners.

_____  19. A statement of the private covenants including where they are recorded.

_____  20. Accurate location, material and description of monuments and markers.  Monuments to be placed after final street improvements shall be designated as “future.” 

_____  21. Places for certificates and statement including:

i. Surveyor’s Acknowledgement

ii. Engineering Certificate

iii. Owner’s Acknowledgement

iv. Health Department Approval

v. Final Plat Approval 

_____  22. The Plat must show the as-built location of water and sanitary sewer lines, cut off valves, fire hydrants and man holes as approved by the Water and Sewer Authority.

_____  23. The final plat should contain the Registered Land Surveyor’s Seal and signature.

_____  24. Miter property corners.

_____  25. Submit Maintenance Bond, Performance Bond, Street Light Tax - Street Lights and signs have been installed and all infrastructure has been completed

_____  26. Local / State buffers required on all state waters as follows: 

Undisturbed buffers:

Dog River Basin



200’ (50’ w/ addl. 25’ setback, north of I-20)

Bear Creek Basin



100’ w/ addl. 50’ setback 

Anneewakee Creek Basin


50’   w/ addl. 25’ setback

Sweetwater Creek Basin



100’ w/ addl. 50’ setback




Beaver Run Sub-basin


100’ w/ addl. 50’ setback




Gothards Creek Sub-basin

50’   w/ addl. 25’ setback

All Other Basins



50’   w/ addl. 25’ setback

Along Chattahoochee River


100’ w/ addl. 50’ setback

Or Note:  “No state waters exist within _____ of the site.”


ADDITIONAL COMMENTS:













Page 2 – Final Plat Checklist

Revised 3/9/2016

